[Your Lab Name]

QA Test Report

(Product Environmental Test)

| Report Number | XXXXXXXX |
| --- | --- |
| Project Number | XXXXXXXXXX |
| Product Model | [Product Name / Model] |
| Test Type | (Product Environmental Test) |

Test Items:

Temperature Cycle & High Temperature High Humidity Operation Test

Low Temperature Power ON/OFF Test

Temperature & Humidity Storage Test

Vibration Test

Shock Test

Drop Test

| QA Manager | Approval | Prepare By |
| --- | --- | --- |
| ____________________ | ____________________ | ____________________ |
| Date: ____/____/____ | Date: ____/____/____ | Date: ____/____/____ |

Table of Contents

1.	Product Specifications	3

2.	Temperature Cycle & High Temperature High Humidity Operation Test	4

3.	Low Temperature Power ON/OFF Test	7

4.	High Temperature High Humidity Storage Test	9

5.	Low Temperature Storage Test	11

6.	Vibration Test	13

7.	Shock Test	24

8.	Drop Test	30

1. Product Specifications

| Category | Specification |
| --- | --- |
| Power Input | __ ~ __ VDC |
| Operating Temperature | __ ~ __ °C |
| Operating Humidity | __ ~ __ %RH |
| Storage Temperature | __ ~ __ °C |
| Storage Humidity | __ % max. |
| Interface | [e.g. RS-485, Ethernet RJ45] |
| Other Specs | [Add as needed] |

[Insert product photo or diagram here]

2. Temperature Cycle & High Temperature High Humidity Operation Test

| Product Model | [Product Model] | Samples Q'ty | __ Units |
| --- | --- | --- | --- |
| Test Period | From ____/____/____ to ____/____/____ | Test Standard | IEC 60068-2-14 / 2-3 |
| Sample Source | Engineering Sample / Finished Product |  |  |
| Test Sample S/N | [S/N-01]、[S/N-02]、[S/N-03] ... |  |  |

Test Condition:

- High Temperature: __ °C

- High Humidity: __ %RH

- Room Temperature: 25 °C

- Room Humidity: 45 %RH

- Low Temperature: __ °C

- Low Humidity: 0 %RH

- Test Time: __ Hr

- Temperature Slope: __ °C/min

- Input Voltage: DC __ V

Test Environment Curve:

[Insert temperature/humidity profile curve chart here]

Test Method:

- Power ON the sample and run the auto test program.

- Maintain power supply during temperature/humidity changes.

- After test completion, condition samples at 25 °C for full function test.

- Check samples appearance and function.

Photograph:

[Insert test photographs here (before / during / after)]

Proceedings:

| Check Item | Check Point 1 | Check Point 2 | Check Point 3 | Check Point 4 | Unit |
| --- | --- | --- | --- | --- | --- |
| Date / Time | ____/__ __:__ | ____/__ __:__ | ____/__ __:__ | ____/__ __:__ |  |
| Temperature | — | — | — | — | °C |
| Humidity | — | — | — | — | %RH |
| [Component A] | — | — | — | — | °C |
| [Component B] | — | — | — | — | °C |

Test Result: PASS

- Visual Inspection: Products exterior and structure without any non-conforming condition.

- Electronic Function: Products function without any error.

Test Equipments:

- Temperature / Humidity Chamber: [Make / Model]

- Temperature Recorder: [Make / Model]

Test Location: [Laboratory Name]

3. Low Temperature Power ON/OFF Test

| Product Model | [Product Model] | Samples Q'ty | __ Units |
| --- | --- | --- | --- |
| Test Period | From ____/____/____ to ____/____/____ | Test Standard | IEC 60068-2-1 |
| Sample Source | Engineering Sample / Finished Product |  |  |
| Test Sample S/N | [S/N-01]、[S/N-02]、[S/N-03] ... |  |  |

Test Condition:

- Room Temperature: 25 °C

- Room Humidity: 45 %RH

- Low Temperature: __ °C

- Low Humidity: 0 %RH

- Power ON Time: __ Min

- Power OFF Time: __ Min

- Test Time: __ Hrs

- Temperature Slope: __ °C/min

- Input Voltage: DC __ V

Test Environment Curve:

[Insert temperature/humidity profile curve chart here]

Test Method:

- Power ON for __ min to verify sample works properly, then power OFF for __ min.

- Repeat step 1 for __ cycles until power ON/OFF test is complete.

- After test completion, condition samples at 25 °C for full function test.

- Check samples appearance and function.

Photograph:

[Insert test photographs here (before / during / after)]

Proceedings:

| Check Item | Check Point 1 | Check Point 2 | Check Point 3 | Check Point 4 | Unit |
| --- | --- | --- | --- | --- | --- |
| Date / Time | ____/__ __:__ | ____/__ __:__ | ____/__ __:__ | ____/__ __:__ |  |
| Temperature | — | — | — | — | °C |
| Humidity | — | — | — | — | %RH |
| [Component A] | — | — | — | — | °C |
| [Component B] | — | — | — | — | °C |

Test Result: PASS

- Visual Inspection: Products exterior and structure without any non-conforming condition.

- Electronic Function: Products function without any error.

Test Equipments:

- Temperature / Humidity Chamber: [Make / Model]

- Temperature Recorder: [Make / Model]

Test Location: [Laboratory Name]

4. High Temperature High Humidity Storage Test

| Product Model | [Product Model] | Samples Q'ty | __ Units |
| --- | --- | --- | --- |
| Test Period | From ____/____/____ to ____/____/____ | Test Standard | IEC 60068-2-48 |
| Sample Source | Engineering Sample / Finished Product |  |  |
| Test Sample S/N | [S/N-01]、[S/N-02]、[S/N-03] ... |  |  |

Test Condition:

- Room Temperature: 25 °C

- Room Humidity: 45 %RH

- High Temperature: __ °C

- High Humidity: __ %RH

- Test Time: __ Hr

- Temperature Slope: __ °C/min

Test Environment Curve:

[Insert temperature/humidity profile curve chart here]

Test Method:

- Power ON the sample and run the auto test program.

- Maintain power supply during temperature/humidity changes.

- After test completion, condition samples at 25 °C for full function test.

- Check samples appearance and function.

Photograph:

[Insert test photographs here (before / during / after)]

Proceedings:

| Check Item | Check Point 1 | Check Point 2 | Check Point 3 | Check Point 4 | Unit |
| --- | --- | --- | --- | --- | --- |
| Date / Time | ____/__ __:__ | ____/__ __:__ | ____/__ __:__ | ____/__ __:__ |  |
| Temperature | — | — | — | — | °C |
| Humidity | — | — | — | — | %RH |
| [Component A] | — | — | — | — | °C |
| [Component B] | — | — | — | — | °C |

Test Result: PASS

- Visual Inspection: Products exterior and structure without any non-conforming condition.

- Electronic Function: Products function without any error.

Test Equipments:

- Temperature / Humidity Chamber: [Make / Model]

- Temperature Recorder: [Make / Model]

Test Location: [Laboratory Name]

5. Low Temperature Storage Test

| Product Model | [Product Model] | Samples Q'ty | __ Units |
| --- | --- | --- | --- |
| Test Period | From ____/____/____ to ____/____/____ | Test Standard | IEC 60068-2-48 |
| Sample Source | Engineering Sample / Finished Product |  |  |
| Test Sample S/N | [S/N-01]、[S/N-02]、[S/N-03] ... |  |  |

Test Condition:

- Room Temperature: 25 °C

- Room Humidity: 45 %RH

- Low Temperature: __ °C

- Low Humidity: 0 %RH

- Test Time: __ Hr

- Temperature Slope: __ °C/min

Test Environment Curve:

[Insert temperature/humidity profile curve chart here]

Test Method:

- Power ON the sample and run the auto test program.

- Maintain power supply during temperature/humidity changes.

- After test completion, condition samples at 25 °C for full function test.

- Check samples appearance and function.

Photograph:

[Insert test photographs here (before / during / after)]

Proceedings:

| Check Item | Check Point 1 | Check Point 2 | Check Point 3 | Check Point 4 | Unit |
| --- | --- | --- | --- | --- | --- |
| Date / Time | ____/__ __:__ | ____/__ __:__ | ____/__ __:__ | ____/__ __:__ |  |
| Temperature | — | — | — | — | °C |
| Humidity | — | — | — | — | %RH |
| [Component A] | — | — | — | — | °C |
| [Component B] | — | — | — | — | °C |

Test Result: PASS

- Visual Inspection: Products exterior and structure without any non-conforming condition.

- Electronic Function: Products function without any error.

Test Equipments:

- Temperature / Humidity Chamber: [Make / Model]

- Temperature Recorder: [Make / Model]

Test Location: [Laboratory Name]

6. Vibration Test

| Product Model | [Product Model] | Samples Q'ty | __ Units |
| --- | --- | --- | --- |
| Test Period | From ____/____/____ to ____/____/____ | Test Standard | IEC 60068-2-6 / 2-34 |
| Sample Source | Engineering Sample / Finished Product |  |  |
| Test Sample S/N | [S/N-01]、[S/N-02]、[S/N-03] ... |  |  |

Test Condition:

- Test Environment: 20 ± 2 °C

- Test Humidity: 70 ± 20 %RH

- — Sine Vibration (Resonance Search): Frequency __ ~ __ Hz, Acceleration __ g, Sweep rate __ Oct/min

- — Sine Vibration (Operation): Frequency __ ~ __ Hz, Acceleration __ g rms / Displacement __ mm

- — Random Vibration (Package): Frequency __ ~ __ Hz, Acceleration __ g rms

- Test Axis: X, Y, Z

Test Environment Curve:

[Insert temperature/humidity profile curve chart here]

Test Method:

- Perform resonance search on all three axes.

- Perform operation sine vibration on all three axes.

- Perform random vibration (package) on all three axes.

- Check samples appearance and function after each sub-test.

Photograph:

[Insert test photographs here (before / during / after)]

Proceedings:

| Check Item | Check Point 1 | Check Point 2 | Check Point 3 | Check Point 4 | Unit |
| --- | --- | --- | --- | --- | --- |
| Date / Time | ____/__ __:__ | ____/__ __:__ | ____/__ __:__ | ____/__ __:__ |  |
| Temperature | — | — | — | — | °C |
| Humidity | — | — | — | — | %RH |
| [Component A] | — | — | — | — | °C |
| [Component B] | — | — | — | — | °C |

Test Result: PASS

- Visual Inspection: Products exterior and structure without any non-conforming condition.

- Electronic Function: Products function without any error.

Test Equipments:

- Vibration Tester: [Make / Model / S/N]

- Controller: [Make / Model / S/N]

- Control Accelerometer: [Make / Model / S/N]

Test Location: [External Vibration Laboratory]

7. Shock Test

| Product Model | [Product Model] | Samples Q'ty | __ Units |
| --- | --- | --- | --- |
| Test Period | From ____/____/____ to ____/____/____ | Test Standard | IEC 60068-2-27 |
| Sample Source | Engineering Sample / Finished Product |  |  |
| Test Sample S/N | [S/N-01]、[S/N-02]、[S/N-03] ... |  |  |

Test Condition:

- Test Environment: 20 ± 2 °C

- Test Humidity: 70 ± 20 %RH

- Waveform: Half Sine

- Acceleration: __ g

- Duration: __ ms

- Test Axis: ± X, ± Y, ± Z

- Test Times: __ Shocks / Axis

Test Environment Curve:

[Insert temperature/humidity profile curve chart here]

Test Method:

- Mount sample on shock tester fixture.

- Apply __ g, __ ms half-sine shock pulses on each axis direction.

- Verify function after each axis.

- Check samples appearance and function.

Photograph:

[Insert test photographs here (before / during / after)]

Proceedings:

| Check Item | Check Point 1 | Check Point 2 | Check Point 3 | Check Point 4 | Unit |
| --- | --- | --- | --- | --- | --- |
| Date / Time | ____/__ __:__ | ____/__ __:__ | ____/__ __:__ | ____/__ __:__ |  |
| Temperature | — | — | — | — | °C |
| Humidity | — | — | — | — | %RH |
| [Component A] | — | — | — | — | °C |
| [Component B] | — | — | — | — | °C |

Test Result: PASS

- Visual Inspection: Products exterior and structure without any non-conforming condition.

- Electronic Function: Products function without any error.

Test Equipments:

- Shock / Vibration Tester: [Make / Model / S/N]

- Controller: [Make / Model / S/N]

- Control Accelerometer: [Make / Model / S/N]

Test Location: [External Vibration Laboratory]

8. Drop Test

| Product Model | [Product Model] | Samples Q'ty | __ Units |
| --- | --- | --- | --- |
| Test Period | From ____/____/____ to ____/____/____ | Test Standard | IEC 60068-2-32 |
| Sample Source | Engineering Sample / Finished Product |  |  |
| Test Sample S/N | [S/N-01]、[S/N-02]、[S/N-03] ... |  |  |

Test Condition:

- Test Phase: One Corner, Three Edges, Six Faces — Total Ten Drops

- Test Height: __ cm

- Package Weight: __ Kg

- Package Dimension: __ cm (L) × __ cm (W) × __ cm (H)

Test Environment Curve:

[Insert temperature/humidity profile curve chart here]

Test Method:

- Drop from corner (most fragile face corner).

- Drop from three edges radiating from the corner.

- Drop from all six faces (smallest → medium → largest pairs).

- Check samples appearance and function.

Photograph:

[Insert test photographs here (before / during / after)]

Proceedings:

| Check Item | Check Point 1 | Check Point 2 | Check Point 3 | Check Point 4 | Unit |
| --- | --- | --- | --- | --- | --- |
| Date / Time | ____/__ __:__ | ____/__ __:__ | ____/__ __:__ | ____/__ __:__ |  |
| Temperature | — | — | — | — | °C |
| Humidity | — | — | — | — | %RH |
| [Component A] | — | — | — | — | °C |
| [Component B] | — | — | — | — | °C |

Test Result: PASS

- Visual Inspection: Products exterior and structure without any non-conforming condition.

- Electronic Function: Products function without any error.

Test Equipments:

- Drop Tester: [Make / Model]

Test Location: [Laboratory Name]